## Sheet1
PREVENTIVE MAINTENANCE FOR VILLAGE OF WASTEWATER TREATMENT SYSTEM
Equipment | Task(s) | Daily | Weekly | Bi-Weekly | Monthly | Bi-Monthly | Quarterly | Bi-Annually | Annually | 5 Years | As Needed
WWTP Pumps
Pump 1 | Check amperage |  |  |  | X
Pump 2 | Check amperage |  |  |  | X
Beds | Cover | [7 empty] | X
| Rotate |  |  |  | X
| Till weeds in beds |  |  |  | X
Valves
Cell 1
Valve 1 | Exercise | [5 empty] | X
Valve 2 | Exercise | [5 empty] | X
Valve 3 | Exercise | [5 empty] | X
Cell 2
Valve 1 | Exercise | [5 empty] | X
Valve 2 | Exercise | [5 empty] | X
Valve 3 | Exercise | [5 empty] | X
Ferric Addition | Change as needed | [9 empty] | X
UV | Remove/replace lights | [7 empty] | X
| Clean UV bulbs |  | X
| Change bulbs | [9 empty] | X
Samplers
Influent | Check and record temperature | X
| Clean hose and carboy | [9 empty] | X
Effluent | Check and record Temperature | X
| Clean hose and carboy | [9 empty] | X
Samples, effluent | BOD, TSS NH3, P |  |  | X
| pH | X
| Ferric |  | X
| Copper |  |  |  |  | X
| WET test samples | [7 empty] | X
Samples, influent | BOD, TSS, NH3, P |  |  | X
| pH | X
Biosolids | Sample as per permit | [6 empty] | X
| Haul as per permit | [6 empty] | X
| Biosolids reports | [7 empty] | X
Lift Stations
Park (Main) | Check hour meter | X
Clean Wet Well
Baileyville Court | Check hour meter | X
| Clean Wet Well | [6 empty] | X
Generator | Exercise |  |  |  | X
| Exercise under load | [5 empty] | X
Reports | DMR |  |  |  | X
| CMOM | [7 empty] | X
| CMAR | [7 empty] | X
| Permit Application | [8 empty] | X
| Review SOPs | [7 empty] | X